{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":14,"n_cols":23,"rows_kept":14,"cut":false,"hidden":false,"merged":[[0,0,0,22]]}
["物联网气象站设备质检表格"]
["任务单号","1","检验时间","23-08-29 20:00:00","23-08-30 10:00:00","报告日期","23-08-31 19:11:03","合格数","10","          ","          ","          ","          ","          ","          ","          ","          ","          ","          ","          ","          ","          ","          "]
["ID","检验项目","电压","信号强度","经度","纬度","固件版本号","sim卡信息","上传数据条数","二氧化碳","光照度","土壤含水率","土壤含水率","土壤温度","土壤温度","热通量","热通量","盐分","盐分","空气温度","空气湿度","位置信息","单台合格数"]
["/","判定标准","合格条件(绿色)：\n11~15","合格条件(绿色)：\n>14","合格条件(绿色)：\n113°46′13″±30″范围内","合格条件(绿色)：\n35°1′45″±30″范围内","合格条件(绿色)：\n用检验时的输入作为导入的标准.\n/ 无法显示,替换为 -","合格条件(绿色)：\n1、大于等于180天单元格显示绿色\n2、小于180天大于等于30天单元格显示黄色、\n3、小于30天单元格显示为红色","合格条件(绿色)：\n1、大于7条\n2、两条数据时间间隔小于20分钟的出现频次2次以内、两条数据间隔大于40分钟出现频率2次以内","合格条件(绿色)：\n1、400<示值<1500\n2、有1条合格即可","合格条件(绿色)：\n1、0<示值<200000\n2、有1条合格即可","合格条件(绿色)：\n1、0<示值<=100\n2、有1条合格即可","合格条件(绿色)：\n1、0<示值<=100\n2、有1条合格即可","合格条件(绿色)：\n1.≠0且在-5~35°C之间\n2、有1条合格即可","合格条件(绿色)：\n1.≠0且在-5~35°C之间\n2、有1条合格即可","无判定条件","无判定条件","合格条件(绿色)：\n1、0<示值<1000#2、有1条合格即可","合格条件(绿色)：\n1、0<示值<1000#2、有1条合格即可","合格条件(绿色)：\n1.-10~35°C，但不允许为0°C\n2、有1条合格即可","合格条件(绿色)：\n1、0<示值<100\n2、有1条合格即可","合格条件(绿色)：显示河南省新乡市原阳县为合格,否则不合格","合格条件(绿色)：\n所有显示数值全部在合格范围内，则判定为合格"]
["864865060471399","864865060471399","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["861551053388187","861551053388187","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["861551053390613","861551053390613","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["864865060475309","864865060475309","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["864865060470326","864865060470326","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["864865060474351","864865060474351","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["864865060467983","864865060467983","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["864865060473833","864865060473833","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["864865060481539","864865060481539","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]
["864865060469773","864865060469773","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","无数据","河南省新乡市原阳县","合格"]