{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":6,"n_cols":9,"rows_kept":6,"cut":false,"hidden":false,"merged":[[0,0,0,8]]}
["采集仪检验原始记录单"]
["任务单号","1","检验时间","23-09-18 20:00:00","23-09-20 10:00:00","报告日期","23-09-25 16:48:37","合格数","0"]
["ID","检验项目","土壤温度","土壤湿度","地理位置","流量卡有效期","数据条数","判定"]
["/","/","显示数据且数据不能为0","显示数据且数据不能为0","显示地理位置为河南省新乡县","显示数据，不作为考评项目","数据条数>=46,且两条数据间隔为30±2分钟(显示数据条数，若不符合进行描述)","/"]
["864865060475416","864865060475416","26.8","暂无","河南省新乡市原阳县","310","数据条件为75","不合格"]
["864865060470276","864865060470276","26.6","暂无","河南省新乡市原阳县","310","数据条件为75","不合格"]